## Preambles
PREAMBLES
Introduction
Purpose of this document | The purpose of this document is to provide a 5 yearly inspection report and log book to fulfil the requirements of the Tenement Act [Name & Date of Act to be Confirmed].
Scope of instructions | The Competent person, noted below was instructed to survey and report on the Property outlined below to provide a 5 yearly tenement report. Exclusions and limitations set out below apply to the scope of the exercise.
Property Address | [insert street number, name, town, post code]
Client | [insert client name]
Client Representative | [insert client representative name]
Stairwell community | The Common owners of [insert street number, name, town, post code]
The Author
Competent person (BS 7913: 2013) | [competent person name], [state professional qualifications]
Other surveyors/architect | [assistant name], [state professional qualifications]
Competent person's PII reference | [policy number]
The Property
Number of properties in the block | [number]
Number of properties that are tenanted | [number]
Commercial units | [number]
Orientation of front elevation | West
Schedule of Regular inspection | 5 yearly
Date of last inspection | [year]
Date of next inspection | [year + 5 years]
Previous exercises and historic documents reviewed | [state previous reports]
Compliance Documents reviewed | [state previous compliance reports]
Survey Particulars
Date of Survey | [date]
Survey health and safety risk assessment | [describe H&S RAMS]
Weather
Surveyor(s)/Architect(s)
Extent of access
Quality information
Author/Competent Person | [competent person name], [state professional qualifications]
Checker | [reviewer person name], [state professional qualifications]
Revision | Draft
Date of issue | [date]

## Summary
SUMMARY
The Report
The Report includes an individual schedule by building (each building is treated independently), which comprise a tabulated schedule covering all the major elements of the external fabric and the internal areas. Each element has been given a description, condition, priority rating, recommended action. A total cost estimate for undertaking the recommended work is also included. Refer to the Definitions later in this document.
Description of the building
Summary of Condition
Summary of Recommendations
1
2
3
4
5
Cost Summary
Following this survey we advise that the following amount needs to be spent on the property in question over the next five years:
1 | Reserve fund £xxx,xxx
2 | Maintenance fund £xx,xxx
3 | Float £x,xxx
This should be divided between the owners as set out in the title deeds and paid in regular instalments into the communal bank account.
These figures are based on a high level assessment and have been rounded. They do not include for inflation and should be taken as a guide only.
Should more detail regarding budgeting be required the author of this report should be asked to complete the elemental costing section of the tabulated report below.
Important Notes
This Report is formed of the findings of the Competent Person on areas which they were able to access or visually inspect during the site visits. Covered, unexposed or inaccessible parts of the building structure have not been inspected and therefore not included within this Report. Below ground drains have not been inspected.
Where included, costs within the report are not a formal quotation and do not represent an offer to undertake the recommended work. They are a cost estimate based on recently completed works of a similar nature or from cost indices where relevant and appropriately adjusted.
This report does not take into account inflation or any other economic factor that may cause fluctuations to the costs.
This Report records the condition of the property at the time of inspection but does not state the cause of defect or prescribe remedial work.

## Definitions
DEFINITIONS USED IN THE SCHEDULE
Codes are used in the report to denote different aspects of each element. The text below explains the coding.
Condition Codes (based on the RICS Planned preventative maintenance Professional Standard 2022)
A | Good: Item currently in good condition and with no outstanding repair or maintenance requirements. Works of a cyclical nature may be applicable, for example periodic cleaning or decoration.
B | Fair: Item is in serviceable and generally acceptable condition, but may exhibit signs of age-related wear and tear, weathering or superficial damage. Repair or renewal may be required.
C | Poor: Item is reaching the end of its designed or intended service life, or is excessively weathered or damaged. Repair or renewal will be necessary within the timescales of this schedule
D | Hazardous: Item is in a dangerous condition and imminent works are required to rectify the problem, or to comply with health and safety or other statutory regulations
NI | Not inspected
Priority Codes (based on (BS7913:2013))
5 | Priority 5 Urgent Repairs – Work that should commence without delay for public safety or health and safety reasons, to prevent imminent damage or to arrest rapid deterioration. This can include immediate further investigation. Defects in this section are serious and require prompt action or further investigation in order to prevent the problem from escalating.
4 | Priority 4 Significant Repairs – Work that should be carried out within weeks or months, and within 18 months at most. Failure to do so would be likely to result in significant further damage or deterioration and increased cost. The property must be maintained in the normal way.
3 | Priority 3 Necessary Repairs – Work that should be carried out before the next 5 year inspection, for which there is time to plan, and which can be integrated with other work. This is work that is due in order to keep the building in a state of good repair and to maintain its value and usefulness. Most repair work falls within this category. The property must be maintained in the normal way.
2 | Priority 2 Desirable – Work that is desirable, if not strictly necessary, but that might improve the functioning or performance of the building or enhance its architectural or aesthetic qualities. Alternatively, work that is not due, but is likely to become so before the next 5 year inspection and can sensibly be incorporated with other work. Much minor conservation work, and energy efficiency work, should fall within this category. The property must be maintained in the normal way.
1 | Priority 1 No reportable defects - Considered to be in an acceptable state of repair and condition with no significant or urgent repairs or works required or anticipated taking into account the age, type and general quality of the property. The property must be maintained in the normal way for a building of this age and type.
NI | Not inspected
Accounts (Under One Roof)
1 | Reserve fund (R)
Key points about Building Reserve Funds: - all owners pay in on a regular basis - they are usually for major repairs and renewals - a clause must be inserted in the title deeds to ensure that the funds are ‘hereditary’ – i.e. the fund stays with the building, so when an owner sells, they do not get ‘their’ money back - new owners can’t choose to opt-out of contributing https://underoneroof.scot/building-reserve-funds/
2 | Maintenance fund (M)
Maintenance accounts A maintenance account is used to hold money for specific upcoming repairs. The default rules in the Tenements (Scotland) Act 2004 sets out the rules for setting up and managing maintenance accounts. They must: - be held in a bank or building society - be interest-bearing accounts - require at least two owner signatures or the property manager’s authorisation for making payments refund arrangements if the work does not go ahead https://underoneroof.scot/keeping-accounts/
3 | Float
A float is a small advance payment kept in your maintenance account or by your property manager/factor. A float is usually a few hundred pounds per flat and is used to ensure that money is available to deal with minor repairs quickly, without having to take time to contact each owner. https://underoneroof.scot/keeping-accounts/

## Schedule
XX Somewhere Street, Edinburgh, EHX XXX | [9 empty] | Elemental Costing Section
SCHEDULE | [9 empty] | This section is optional
Date of Inspection: DD Month YYYY
|  |  |  | Competent Person: Forename Surname RIAS/MRICS (delete if not chartered) | [6 empty] | Year for Action
Ref | Element | Location (as view from the front) Cross reference to Plans and Elevations | Description | Condition | Condition Code | Recommendation | Priority Code | Log Book Activity taken to satisfy the Recommendations with dates against each | Photograph photographs must be included - in column line item below or in appendix – delete as appropriate | Fund Code | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6+
ROOFS
1.01 | Chimneys Identify chimney names and ownership
1.02 | Mutual Chimneys
1.03 | Mutual gables
1.04 | Gable and parapet skews
1.05 | Parapet Walls
1.06 | Balustrades
1.07 | Ironwork
1.08 | Aerial fixings
1.09 | Masonry abutments to roofs
1.10 | Roof Structure
1.11 | Roof coverings
1.12 | Roof flashings
1.13 | Dormers
1.14 | Access hatches
1.15 | Rhone gutters
1.16 | Valleys
1.17 | Valley gutters including overflows
1.18 | Valley gutter outlets
1.19 | Flat roof coverings
1.20 | Parapet gutters including overflows
1.21 | Rooflights
1.22 | Cupolas
1.23 | Pipe penetrations
1.24 | Safe access systems
1.25 | Roof insulation
ELEVATIONS
2.01 | Wall elevations generally
2.02 | Projecting features
2.03 | Blocking courses
2.04 | Wall head cornices
2.05 | Cill and string courses
2.06 | Mullions
2.07 | Plinth courses
2.08 | Basement Walls
2.09 | Balconies
2.10 | Rainwater downpipes & outlets
2.11 | Soil and waste pipes
2.12 | Shop fronts
2.13 | Windows
2.14 | Dummy windows
2.15 | External doors
2.16 | Mastic pointing
2.17 | Surface cables
2.18 | Ventilation ducts and grilles
2.19 | Boiler flues
2.20 | Flue access plates
2.21 | Plumbing
2.22 | Wall insulation
COMMON INTERNAL ELEMENTS
3.01 | Attic spaces
3.02 | Common entrance hall
3.03 | Common stair
3.04 | Common service ducts
3.05 | Stair head cupola
3.06 | Decoration
3.07 | Flat entrance doors
3.08 | Entry to common attic
3.09 | Windows and skylights
3.1 | Domestic plumbing
3.11 | Stair lighting
3.12 | Heating system
3.13 | Electrical system
3.14 | Gas
3.15 | Lift
3.16 | Lowest Floor insulation
COMMON WINDOWS & DOORS
4.01 | Window 1
4.02 | Window 2
4.03 | Window 3
4.04 | Door 1
4.05 | Door 2
GROUNDS, BOUNDARIES & OUTBUILDINGS
5.01 | Front garden/area
5.02 | Front garden boundary wall
5.03 | Front garden boundary railings and gates
5.04 | Common entry walls, railings and gates
5.05 | Front basement retaining walls
5.06 | Steps and plats
5.07 | Cellars
5.08 | Rear Garden
5.09 | Rear garden retaining walls
5.1 | Rear garden boundary walls, railings
5.11 | Planting
5.12 | Drains - surface level
5.13 | Drains - below ground
ACCESS METHODS
6.01 | Scaffolding - front elevation
6.02 | Scaffolding - rear elevation
6.03 | Chimney scaffold
6.04 | Mobile elevating work platform (MEWP)
6.05 | Other
MANAGEMENT
10.01 | 5 Yearly Tenement Report
10.02 | Block or common insurance
10.02 | Float

## Appendices
APPENDICES
A | Roof plan
Plan/Aerial view must be included (identify north point, identify front elevation, locate within context of neighbouring properties)
B | Elevations
C | Photographic Schedule
D | Glossary of Technical Terms

## A Roof Plan
APPENDIX A - Roof Plan

## B Elevations
APPENDIX B - Elevations

## C Photographic Schedule
APPENDIX C - Photographic Schedule

## D Glossary of Technical Terms
APPENDIX D - Glossary of Technical Terms

## Scaffold costs (hidden)
SCAFFOLD |  | rate/m2
Length | 17
Height | 15
Area | 255 | 10.83 | 2761.65
Contract Period min 12 weeks | 12 | 0
Contract Period beyond 12 weeks | 0 | 0.35 | 0
Sub Total |  |  | 2761.65
Allowance for Design of Scaffold
| 1016 | 25 | 25400
| 40 | 0.6 | 24384

## Roof Source Codes (hidden)
Ref | Cat | Roofs | Location | Type | Description | Condition
| ROOFS | Roof_Coverings | Front |  |  | Traditional_scotch_slates_in_diminishing_courses.
| ELEVATIONS | Gutters | Back | Roof_ Coverings | Slated_Pitched_Roof | Strip and reslate reusing as much as possible the existing slate. Allow for the supply of good quality second hand reclaimed slate for making up any shortage and for the supply and fit of a new breathable underslating membrane.
| COMMON WINDOWS & DOORS | Flashings | Left | Slated_Pitched_Roof | Traditional_scotch_slates_in_diminishing_courses. | Strip and reslate the roof in good quality second hand reclaimed slate. Giving the condition of the slatework no allowance for salvaging slate has been made. Allow for the supply and fit of a new breathable underslating membrane.
| COMMON INTERNAL ELEMENTS | Abutments | Right | Slated_Vertical_Roof | Double_nailed_slate_in_regular_courses. | Strip and reslate the roof in new heritage suitable slate. Slating pattern to match as much as possible the original pattern. Allow for the supply and fit of a new breathable underslating membrane.
| GROUNDS, BOUNDARIES & OUTBUILDINGS | Dormers | Rear | Stone_Roof |  | Strip and reslate the roof in new slate. Allow for the supply and fit of a new breathable membrane.
| ACCESS METHODS | Rooflights | Side | Tiled_Roof | Slated_Vertical_Roof | Overhaul slatework replacing missing, slipped or broken slates and removing any moss, vegetation growth, debris built-up.
|  | Lofts | Left Side | Metal_Pitched_Roof | Traditional_scotch_slates_in_diminishing_courses. | Considering the condition of the slatework on its own, a full-reslating exercise would not be necessary in the short term. However, there would be a cost-benefit in undertaking this at the same time as other roof and high-level work.
|  | Chimneys | Right Side | Metal_Flat_Roof | Double_nailed_slate_in_regular_courses. | Considering the condition of the slatework on its own, a full-reslating exercise would not be necessary in the short term. However, there would be a cost-benefit in undertaking this at the same time as other roof and high-level work. Renewing the roof covering would also allow the opportunity of improving the roof covering detail by adding an underslating breathable membrane.
|  | Others | Central | Metal_Vertical_Roof_Cladding
| Condition Codes: |  | General | Other_Pitched_Roof | Stone_Roof
| A |  | Front Pitch | Other_Flat_Roof | Caithness_roof_tiles. | Double_nailed_slate_in_regular_courses.
| B |  | Rear Pitch |  |  | Strip and reslate reusing as much as possible the existing slate. Allow for the supply of good quality second hand reclaimed slate for making up any shortage and for the supply and fit of a new breathable underslating membrane.
| C |  | Side Pitch |  | Tiled_Roof | Strip and reslate the roof in good quality second hand reclaimed slate. Giving the condition of the slatework no allowance for salvaging slate has been made. Allow for the supply and fit of a new breathable underslating membrane.
| D |  | Side Pitches |  | Concrete_tiles. | Strip and reslate the roof in new heritage suitable slate. Slating pattern to match as much as possible the original pattern. Allow for the supply and fit of a new breathable underslating membrane.
| N/A |  | Left Side Pitch |  | Terracotta_roof_tiles. | Strip and reslate the roof in new slate. Allow for the supply and fit of a new breathable membrane.
|  |  | Right Side Pitch |  | uPVC_roof_tiles. | Overhaul slatework replacing missing, slipped or broken slates and removing any moss, vegetation growth, debris built-up.
|  | Walls | Left Side Pitches |  |  | Considering the condition of the slatework on its own, a full-reslating exercise would not be necessary in the short term. However, there would be a cost-benefit in undertaking this at the same time as other roof and high-level work.
|  |  | Right Side Pitches |  | Metal_Pitched_Roof | Considering the condition of the slatework on its own, a full-reslating exercise would not be necessary in the short term. However, there would be a cost-benefit in undertaking this at the same time as other roof and high-level work. Renewing the roof covering would also allow the opportunity of improving the roof covering detail by adding an underslating breathable membrane.
|  |  | Front Left |  | Lead_roof.
|  |  | Front Rigth |  | Copper_roof.
|  |  | Rear Left |  | Zinc_roof. | Caithness_roof_tiles.
|  |  | Rear Right |  | Aluminium_roof. | Strip and retile reusing as much as possible the existing roof tiles. Allow for the supply of good quality second hand reclaimed roof tiles for making up any shortage and for the supply and fit of a new breathable underslating membrane.
|  |  | Central Left |  | Stainless_steel_roof. | Strip and reslate the roof in good quality second hand reclaimed caithness roof tiles/ slates. Allow for the supply and fit of a new breathable underslating membrane.
|  |  | Central Right |  |  | Strip and reslate the roof in new heritage suitable slate. Allow for the supply and fit of a new breathable underslating membrane.
|  |  | Front Dormer |  |  | Strip and reslate the roof in new slate. Allow for the supply and fit of a new breathable membrane.
|  |  | Rear Dormer |  | Metal_Flat_Roof | Overhaul roof tiles replacing missing, slipped or broken roof tiles and removing any moss, vegetation growth, debris built-up.
|  |  | Front Pitches |  | Lead_roof. | Considering the condition of the roof tiles on their own, a full-retiling exercise would not be necessary in the short term. However, there would be a cost-benefit in undertaking this at the same time as other roof and high-level work.
|  |  | Rear Pitches |  | Copper_roof. | Considering the condition of the roof tiles on their own, a full-retiling exercise would not be necessary in the short term. However, there would be a cost-benefit in undertaking this at the same time as other roof and high-level work. Renewing the roof covering would also allow the opportunity of improving the roof covering detail by adding an underslating breathable membrane.
|  |  | Front Dormers |  | Zinc_roof.
|  |  | Rear Dormers |  | Aluminium_roof.
|  |  | Side Dormer |  | Stainless_steel_roof. | Concrete_tiles.
|  |  | Side Dormers |  |  | Strip and retile reusing as much as possible the existing concrete roof tiles. Allow for the supply and fit of a new breathable underslating membrane.
|  |  | Central Pitch |  |  | Strip and retile the roof in new concrete roof tiles. Allow for the supply and fit of a new breathable underslating membrane.
|  |  | Central Pitches |  | Metal_Vertical_Roof_Cladding | Overhaul roof tiles replacing missing, slipped or broken roof tiles and removing any moss, vegetation growth, debris built-up.
|  |  | North |  | Lead_roof. | Considering the condition of the roof tiles on their own, a full-retiling exercise would not be necessary in the short term. However, there would be a cost-benefit in undertaking this at the same time as other roof and high-level work.
|  |  | North Pitch |  | Copper_roof. | Considering the condition of the roof tiles on their own, a full-retiling exercise would not be necessary in the short term. However, there would be a cost-benefit in undertaking this at the same time as other roof and high-level work. Renewing the roof covering would also allow the opportunity of improving the roof covering detail by adding an underslating breathable membrane.
|  |  | North Pitches |  | Zinc_roof.
|  |  | North Side |  | Aluminium_roof.
|  |  | South |  | Stainless_steel_roof. | Terracotta_roof_tiles.
|  |  | South Pitch |  |  | Strip and retile reusing as much as possible the existing roof tiles. Allow for the supply and fit of a new breathable underslating membrane.
|  |  | South Pitches |  |  | Strip and retile the roof in new terracotta roof tiles. Allow for the supply and fit of a new breathable underslating membrane.
|  |  | South Side |  | Other_Pitched_Roof | Overhaul roof tiles replacing missing, slipped or broken roof tiles and removing any moss, vegetation growth, debris built-up.
|  |  | East |  | Asphalt_shingles. | Considering the condition of the roof tiles on their own, a full-retiling exercise would not be necessary in the short term. However, there would be a cost-benefit in undertaking this at the same time as other roof and high-level work.
|  |  | East Pitch |  | Bitument_felt. | Considering the condition of the roof tiles on their own, a full-retiling exercise would not be necessary in the short term. However, there would be a cost-benefit in undertaking this at the same time as other roof and high-level work. Renewing the roof covering would also allow the opportunity of improving the roof covering detail by adding an underslating breathable membrane.
|  |  | East Pitches |  | Single_ply.
East Side
|  |  | West |  |  | uPVC_roof_tiles.
|  |  | West Pitch |  | Other_Flat_Roof | Strip and retile the roof in new uPVC roof tiles. Allow for the supply and fit of a new breathable underslating membrane.
|  |  | West Pitches |  | Bitument_felt. | Overhaul roof tiles replacing missing, slipped or broken roof tiles and removing any moss, vegetation growth, debris built-up.
|  |  | West Side |  | Asphalt_roof. | Considering the condition of the roof tiles on their own, a full-retiling exercise would not be necessary in the short term. However, there would be a cost-benefit in undertaking this at the same time as other roof and high-level work.
|  |  | Northeast |  | Single_ply. | Considering the condition of the roof tiles on their own, a full-retiling exercise would not be necessary in the short term. However, there would be a cost-benefit in undertaking this at the same time as other roof and high-level work. Renewing the roof covering would also allow the opportunity of improving the roof covering detail by adding an underslating breathable membrane.
|  |  | Northeast Pitch |  | Liquid_membrane.
Northeast Pitches
|  |  | Northwest |  |  | Lead_roof.
|  |  | Northwest Pitch |  |  | Strip and renew roof in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail. Allow provisional sum for required associated joinery repairs.
|  |  | Northwest Pitches |  |  | Strip and renew roof in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail. Include for ventilation details to new lead roof. Allow provisional sum for required associated joinery repairs.
|  |  | Southeast |  |  | Strip and renew roof in new zinc cladding. Allow provisional sum for required associated joinery repairs.
|  |  | Southeast Pitch |  |  | Strip and renew roof in new high performance bituminous felt. Allow provisional sum for required associated joinery repairs.
|  |  | Southeast Pitches |  |  | Strip and renew roof in new single ply membrane. Allow provisional sum for required associated joinery repairs.
|  |  | Southwest |  |  | Apply lead suitable polymer/resin based waterproofer/repair system to lead roof sections.
|  |  | Southwest Pitch |  |  | Patch repair defective sections of lead cladding, flashings and associated joint sealants.
|  |  | Southwest Pitches |  |  | Overhaul roof, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Main Block
Rear Extension
|  |  | Side Extension |  |  | Copper_roof.
|  |  | Ancillary Buildings |  |  | Strip and renew roof in copper. Allow provisional sum for required associated joinery repairs.
Strip and renew roof in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail. Allow provisional sum for required associated joinery repairs.
Strip and renew roof in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail. Include for ventilation detail to new lead roof. Allow provisional sum for required associated joinery repairs.
Strip and renew roof in new high performance bituminous felt. Allow provisional sum for required associated joinery repairs.
Strip and renew roof in new single ply membrane. Allow provisional sum for required associated joinery repairs.
Apply suitable polymer/resin based waterproofer/repair system to copper roof sections.
Patch repair defective sections of copper cladding, flashings and associated joint sealants.
Overhaul roof, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Zinc_roof.
Strip and renew roof in zinc. Allow provisional sum for required associated joinery repairs.
Strip and renew roof in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail. Allow provisional sum for required associated joinery repairs.
Strip and renew roof in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail. Include for ventilation detail to new lead roof. Allow provisional sum for required associated joinery repairs.
Strip and renew roof in new high performance bituminous felt. Allow provisional sum for required associated joinery repairs.
Strip and renew roof in new single ply membrane. Allow provisional sum for required associated joinery repairs.
Apply suitable polymer/resin based waterproofer/repair system to zinc roof sections.
Patch repair defective sections of zinc cladding, flashings and associated joint sealants.
Overhaul roof, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Aluminium_roof.
Strip and renew roof in aluminium. Allow provisional sum for required associated joinery repairs.
Strip and renew roof in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail. Allow provisional sum for required associated joinery repairs.
Strip and renew roof in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail. Include for ventilation detail to new lead roof. Allow provisional sum for required associated joinery repairs.
Strip and renew roof in new high performance bituminous felt. Allow provisional sum for required associated joinery repairs.
Strip and renew roof in new single ply membrane. Allow provisional sum for required associated joinery repairs.
Apply suitable polymer/resin based waterproofer/repair system to aluminium roof sections.
Patch repair defective sections of aluminium cladding, flashings and associated joint sealants.
Overhaul roof, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Stainless_steel_roof.
Strip and renew roof in stainless steel. Allow provisional sum for required associated joinery repairs.
Strip and renew roof in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail. Allow provisional sum for required associated joinery repairs.
Strip and renew roof in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail. Include for ventilation detail to new lead roof. Allow provisional sum for required associated joinery repairs.
Strip and renew roof in new high performance bituminous felt. Allow provisional sum for required associated joinery repairs.
Strip and renew roof in new single ply membrane. Allow provisional sum for required associated joinery repairs.
Apply suitable polymer/resin based waterproofer/repair system to stainless steel roof sections.
Patch repair defective sections of stainless steel cladding, flashings and associated joint sealants.
Overhaul roof, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Asphalt_shingles.
Strip and renew in new asphalt shingles.
Replace defective asphalt shingles.
Overhaul roof, replacing any defective shingles, fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Bitument_felt.
Strip and renew in new high performance mineral felt. Allow provisional sum for required associated joinery repairs.
Strip and renew roof in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail. Allow provisional sum for required associated joinery repairs.
Apply suitable repair system to mineral felt sections.
Patch repair defective sections of mineral felt, flashings and associated joint sealants.
Overhaul roof, replacing defective sections of joint sealants and flashings and remove any moss, vegetation growth, debris built-up.
Asphalt_roof.
Strip and renew in new high performance mineral felt. Allow provisional sum for required associated joinery repairs.
Apply suitable repair system/liquid membrane system to asphalt roof sections.
Patch repair defective sections of asphalt roof, flashings and associated joint sealants.
Overhaul roof, replacing defective sections of joint sealants and flashings and remove any moss, vegetation growth, debris built-up.
Single_ply.
Strip and renew in new single ply membrane system. Allow provisional sum for required associated joinery repairs.
Patch repair defective sections of single ply membrane roof, flashings and associated joint sealants.
Overhaul roof, replacing defective sections of joint sealants and flashings and remove any moss, vegetation growth, debris built-up.
Liquid_membrane.
Strip and renew in new liquid membrane system.
Patch repair defective sections of roof, flashings and associated joint sealants.
Overhaul roof, replacing defective sections of joint sealants and flashings and remove any moss, vegetation growth, debris built-up.
|  |  |  | Gutters | Central_Valley_Gutters
|  |  |  | Central_Valley_Gutters | Lead_central_valley_gutter. | Lead_central_valley_gutter.
|  |  |  | Sloping_Valley_Gutters | Zinc_central_valley_gutter. | Strip and renew roof in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail. Allow for upgrading outlet and overflow pipe.
|  |  |  | Parapet_Gutters | Copper_central_valley_gutter. | Strip and renew roof in new zinc cladding. Allow for upgrading outlet and overflow pipe.
|  |  |  | Wallhead_Gutters | Aluminium_central_valley_gutter. | Strip and renew roof in new high performance bituminous felt. Allow for upgrading outlet and overflow pipe.
|  |  |  | Back_Gutters | Stainless_steel_central_valley_gutter. | Strip and renew roof in new single ply membrane. Allow for upgrading outlet and overflow pipe.
|  |  |  | Tapered_Gutters | Bitumen_felt_central_valley_gutter. | Apply lead suitable polymer/resin based waterproofer/repair system to lead roof sections.
|  |  |  | Eaves_Gutters | Asphalt_central_valley_gutter. | Strip and renew outlet lining. Allow for upgrading detail.
[5 empty] | Single_ply_central_valley_gutter. | Allow of installing overflow pipe.
[5 empty] | uPVC_central_valley_gutter. | Allow for upgrading overflow pipe.
Patch repair defective sections of lead cladding, flashings and associated joint sealants. Include for relining and upgrading outlet and overflow pipe.
Overhaul, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
[5 empty] | Sloping_Valley_Gutters | Remove any moss, vegetation growth, debris built-up.
Lead_valley_gutter.
Zinc_valley_gutter.
[5 empty] | Copper_valley_gutter. | Zinc_central_valley_gutter.
[5 empty] | Terracotta_tiles_valley_gutter. | Strip and renew roof in new zinc cladding. Allow for upgrading outlet and overflow pipe.
[5 empty] | Concrete_valley_gutter. | Strip and renew roof in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail. Allow for upgrading outlet and overflow pipe.
[5 empty] | Aluminium_valley_gutter. | Strip and renew roof in new high performance bituminous felt. Allow for upgrading outlet and overflow pipe.
[5 empty] | Stainless_steel_valley_gutter. | Strip and renew roof in new single ply membrane. Allow for upgrading outlet and overflow pipe.
[5 empty] | uPVC_valley_gutter. | Apply suitable polymer/resin based waterproofer/repair system to zinc roof sections.
[5 empty] | Bitumen_felt_valley_gutter. | Strip and renew outlet lining. Allow for upgrading detail.
Allow of installing overflow pipe.
Allow for upgrading overflow pipe.
[5 empty] | Parapet Gutters | Patch repair defective sections of zinc cladding, flashings and associated joint sealants. Include for relining and upgrading outlet and overflow pipe.
[5 empty] | Stone_parapet_gutter. | Overhaul, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
[5 empty] | Lead_lined_parapet_gutter. | Remove any moss, vegetation growth, debris built-up.
Zinc_lined_parapet_gutter.
Copper_lined_parapet_gutter.
[5 empty] | Aluminium_lined_parapet_gutter. | Copper_central_valley_gutter.
[5 empty] | Stainless_steel_lined_parapet_gutter. | Strip and renew roof in new copper cladding. Allow for upgrading outlet and overflow pipe.
[5 empty] | Bitument_felt_lined_parapet_gutter. | Strip and renew roof in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail. Allow for upgrading outlet and overflow pipe.
[5 empty] | Asphalt_coated_parapet_gutter. | Strip and renew roof in new high performance bituminous felt. Allow for upgrading outlet and overflow pipe.
Strip and renew roof in new single ply membrane. Allow for upgrading outlet and overflow pipe.
Apply suitable polymer/resin based waterproofer/repair system to copper roof sections.
[5 empty] | Back_Gutters | Strip and renew outlet lining. Allow for upgrading detail.
[5 empty] | Lead_back_gutter. | Allow of installing overflow pipe.
[5 empty] | Zinc_back_gutter. | Allow for upgrading overflow pipe.
[5 empty] | Copper_back_gutter. | Patch repair defective sections of copper cladding, flashings and associated joint sealants. Include for relining and upgrading outlet and overflow pipe.
[5 empty] | Aluminium_back_gutter. | Overhaul, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
[5 empty] | Stainless_steel_back_gutter. | Remove any moss, vegetation growth, debris built-up.
Bitument_felt_lined_back_gutter.
uPVC_back_gutter.
Aluminium_central_valley_gutter.
Strip and renew roof in new aluminium cladding. Allow for upgrading outlet and overflow pipe.
[5 empty] | Wallhead Gutters | Strip and renew roof in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail. Allow for upgrading outlet and overflow pipe.
[5 empty] | Stone_wallhead_gutter. | Strip and renew roof in new high performance bituminous felt. Allow for upgrading outlet and overflow pipe.
[5 empty] | Lead_lined_wallhead_gutter. | Strip and renew roof in new single ply membrane. Allow for upgrading outlet and overflow pipe.
[5 empty] | Zinc_lined_wallhead_gutter. | Apply suitable polymer/resin based waterproofer/repair system to aluminium roof sections.
[5 empty] | Copper_lined_wallhead_gutter. | Strip and renew outlet lining. Allow for upgrading detail.
[5 empty] | Aluminium_lined_wallhead_gutter. | Allow of installing overflow pipe.
[5 empty] | Stainless_steel_wallhead_gutter. | Allow for upgrading overflow pipe.
[5 empty] | Bitument_felt_lined_wallhead_gutter. | Patch repair defective sections of aluminium cladding, flashings and associated joint sealants. Include for relining and upgrading outlet and overflow pipe.
[5 empty] | Asphalt_coated_wallhead_gutter. | Overhaul, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
Tapered Gutters
[5 empty] | Lead_lined_gutter. | Stainless_steel_central_valley_gutter.
[5 empty] | Zinc_lined_gutter. | Strip and renew roof in new stainless steel cladding. Allow for upgrading outlet and overflow pipe.
[5 empty] | Copper_lined_gutter. | Strip and renew roof in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail. Allow for upgrading outlet and overflow pipe.
[5 empty] | Aluminium_lined_gutter. | Strip and renew roof in new high performance bituminous felt. Allow for upgrading outlet and overflow pipe.
[5 empty] | Stainless_steel_lined_gutter. | Strip and renew roof in new single ply membrane. Allow for upgrading outlet and overflow pipe.
[5 empty] | Bitumen_felt_lined_gutter. | Apply suitable polymer/resin based waterproofer/repair system to stainless steel roof sections.
[5 empty] | Asphalt_coated_gutter. | Strip and renew outlet lining. Allow for upgrading detail.
[5 empty] | Single_ply_gutter. | Allow of installing overflow pipe.
Allow for upgrading overflow pipe.
Patch repair defective sections of stainless steel cladding, flashings and associated joint sealants. Include for relining and upgrading outlet and overflow pipe.
[5 empty] | Eaves_Gutters | Overhaul, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
[5 empty] | Profilled_cast_iron_gutters. | Remove any moss, vegetation growth, debris built-up.
Half_round_cast_iron_gutters.
Box_cast_iron_gutters.
[5 empty] | Profilled_lead_gutters. | Bitumen_felt_central_valley_gutter.
[5 empty] | Half_round_lead_gutters. | Strip and renew roof in new high performance bituminous felt. Allow for upgrading outlet and overflow pipe.
[5 empty] | Box_lead_gutters. | Strip and renew roof in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail. Allow for upgrading outlet and overflow pipe.
[5 empty] | Half_round_zinc_gutters. | Strip and renew roof in new single ply membrane. Allow for upgrading outlet and overflow pipe.
[5 empty] | Box_zinc_gutters. | Apply suitable polymer/resin based waterproofer/repair system to bituminous felt sections.
[5 empty] | Profilled_copper_gutters. | Strip and renew outlet lining. Allow for upgrading detail.
[5 empty] | Half_round_copper_gutters. | Allow of installing overflow pipe.
[5 empty] | Box_copper_gutters. | Allow for upgrading overflow pipe.
[5 empty] | Profilled_uPVC_gutters. | Patch repair defective sections of bituminous felt, flashings and associated joint sealants. Include for relining and upgrading outlet and overflow pipe.
[5 empty] | Half_round_uPVC_gutters. | Overhaul, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
[5 empty] | Box_uPVC_gutters. | Remove any moss, vegetation growth, debris built-up.
Profilled_aluminium_gutters.
Half_round_aluminium_gutters.
[5 empty] | Box_aluminium_gutters. | Asphalt_central_valley_gutter.
Strip and renew roof in new high performance bituminous felt. Allow for upgrading outlet and overflow pipe.
Apply suitable polymer/resin based waterproofer/repair system to asphalt roof sections.
Strip and renew outlet lining. Allow for upgrading detail.
Allow of installing overflow pipe.
Allow for upgrading overflow pipe.
Patch repair defective sections of asphalt roof, flashings and associated joint sealants. Include for relining and upgrading outlet and overflow pipe.
Overhaul, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
Single_ply_central_valley_gutter.
Strip and renew roof in new single ply membrane system. Allow for upgrading outlet and overflow pipe.
Strip and renew outlet lining. Allow for upgrading detail.
Allow of installing overflow pipe.
Allow for upgrading overflow pipe.
Patch repair defective sections of single ply membrane, flashings and associated joint sealants. Include for relining and upgrading outlet and overflow pipe.
Overhaul, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
uPVC_central_valley_gutter.
Strip and renew roof in uPVC . Allow for upgrading outlet and overflow pipe.
Strip and renew roof in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail. Allow for upgrading outlet and overflow pipe.
Apply suitable polymer/resin based waterproofer/repair system to uPVC roof sections.
Strip and renew outlet lining. Allow for upgrading detail.
Allow of installing overflow pipe.
Allow for upgrading overflow pipe.
Overhaul, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
Lead_valley_gutter.
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail.
Strip and renew in zinc.
Strip and renew roof in high performance bituminous felt
Apply lead suitable polymer/resin based waterproofer/repair system to lead sections.
Overhaul, re-aligning lead sections removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
Zinc_valley_gutter.
Strip and renew in zinc.
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail.
Apply lead suitable polymer/resin based waterproofer/repair system to zinc sections.
Overhaul, re-aligning zinc sections removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
Copper_valley_gutter.
Strip and renew in copper.
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail.
Strip and renew in zinc.
Apply lead suitable polymer/resin based waterproofer/repair system to copper sections.
Overhaul, re-aligning copper sections removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
Terracotta_tiles_valley_gutter.
Repair/replace defective sections.
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail.
Strip and renew in zinc.
Carefully lift and re-bed tiles in lime based mortar.
Overhaul, re-bedding loose pieces and removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
Concrete_valley_gutter.
Repair/replace defective sections.
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail.
Strip and renew in zinc.
Carefully lift and re-bed tiles in lime based mortar.
Overhaul, re-bedding loose pieces and removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
Aluminium_valley_gutter.
Strip and renew in aluminium
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail.
Strip and renew in zinc.
Apply lead suitable polymer/resin based waterproofer/repair system to aluminium sections.
Overhaul, re-aligning aluminium sections removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
Stainless_steel_valley_gutter.
Strip and renew in stainless steel.
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail.
Strip and renew in zinc.
Apply lead suitable polymer/resin based waterproofer/repair system to stainless steel sections.
Overhaul, re-aligning stainless steel sections removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
uPVC_valley_gutter.
Strip and renew in uPVC.
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail.
Strip and renew in zinc.
Apply lead suitable polymer/resin based waterproofer/repair system to uPVC sections.
Overhaul, re-aligning uPVC sections removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
Bitumen_felt_valley_gutter.
Strip and renew in bitumen felt.
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail.
Strip and renew in zinc.
Apply lead suitable polymer/resin based waterproofer/repair system to copper sections.
Overhaul, re-aligning copper sections removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
Stone_parapet_gutter.
Repoint joints in lime based mortar.
Repair defective sections of stone and repoint in lime based mortar.
Reline in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail. Allow for upgrading outlet/overflow.
Reline in zinc. Allow for upgrading outlet/overflow.
Reline in new high performance bituminous felt. Allow for upgrading outlet/overflow.
Apply suitable polymer/resin based waterproofer/repair system to inner surface of stone sections.
Strip and renew outlet lining. Allow for upgrading detail.
Allow of installing overflow pipe.
Allow for upgrading overflow pipe.
Overhaul, repointing defective joints and removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
Lead_lined_parapet_gutter.
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail. Allow for upgrading outlet/overflow.
Strip and renew in zinc. Allow for upgrading outlet/overflow.
Strip and renew in high performance bituminous felt. Allow for upgrading outlet/overflow.
Strip and renew in single ply membrane. Allow for upgrading outlet/overflow.
Apply suitable polymer/resin based waterproofer/repair system to lead sections.
Strip and renew outlet lining. Allow for upgrading detail.
Allow of installing overflow pipe.
Allow for upgrading overflow pipe.
Patch repair defective sections of lead, flashings and associated joint sealants. Include for relining/upgrading outlet and overflow.
Overhaul, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
Zinc_lined_parapet_gutter.
Strip and renew in zinc. Allow for upgrading outlet/overflow.
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail. Allow for upgrading outlet/overflow.
Strip and renew in high performance bituminous felt. Allow for upgrading outlet/overflow.
Strip and renew in single ply membrane. Allow for upgrading outlet/overflow.
Apply suitable polymer/resin based waterproofer/repair system to zinc sections.
Strip and renew outlet lining. Allow for upgrading detail.
Allow of installing overflow pipe.
Allow for upgrading overflow pipe.
Patch repair defective sections of zinc, flashings and associated joint sealants. Include for relining/upgrading outlet and overflow.
Overhaul, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
Copper_lined_parapet_gutter.
Strip and renew in copper. Allow for upgrading outlet/overflow.
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail. Allow for upgrading outlet/overflow.
Strip and renew in high performance bituminous felt. Allow for upgrading outlet/overflow.
Strip and renew in single ply membrane. Allow for upgrading outlet/overflow.
Apply suitable polymer/resin based waterproofer/repair system to copper sections.
Strip and renew outlet lining. Allow for upgrading detail.
Allow of installing overflow pipe.
Allow for upgrading overflow pipe.
Patch repair defective sections of copper cladding, flashings and associated joint sealants. Include for relining/upgrading outlet and overflow.
Overhaul, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
Aluminium_lined_parapet_gutter.
Strip and renew in aluminium cladding. Allow for upgrading outlet/overflow.
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail. Allow for upgrading outlet/overflow.
Strip and renew in high performance bituminous felt. Allow for upgrading outlet/overflow.
Strip and renew in single ply membrane. Allow for upgrading outlet/overflow.
Apply suitable polymer/resin based waterproofer/repair system to aluminium sections.
Strip and renew outlet lining. Allow for upgrading detail.
Allow of installing overflow pipe.
Allow for upgrading overflow pipe.
Patch repair defective sections of aluminium cladding, flashings and associated joint sealants. Include for relining/upgrading outlet and overflow.
Overhaul, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
Stainless_steel_lined_parapet_gutter.
Strip and renew in stainless steel cladding. Allow for upgrading outlet/overflow.
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail. Allow for upgrading outlet/overflow.
Strip and renew in high performance bituminous felt. Allow for upgrading outlet/overflow.
Strip and renew in single ply membrane. Allow for upgrading outlet/overflow.
Apply suitable polymer/resin based waterproofer/repair system to stainless steel sections.
Strip and renew outlet lining. Allow for upgrading detail.
Allow of installing overflow pipe.
Allow for upgrading overflow pipe.
Patch repair defective sections of stainless steel cladding, flashings and associated joint sealants. Include for relining/upgrading outlet and overflow.
Overhaul, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
Bitument_felt_lined_parapet_gutter.
Strip and renew in high performance bituminous felt. Allow for upgrading outlet/overflow.
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail. Allow for upgrading outlet/overflow.
Strip and renew in single ply membrane. Allow for upgrading outlet/overflow.
Apply suitable polymer/resin based waterproofer/repair system to bitumen felt sections.
Strip and renew outlet lining. Allow for upgrading detail.
Allow of installing overflow pipe.
Allow for upgrading overflow pipe.
Patch repair defective sections of bitumen felt, flashings and associated joint sealants. Include for relining/upgrading outlet and overflow.
Overhaul, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
Asphalt_coated_parapet_gutter.
Strip and renew in high performance bituminous felt. Allow for upgrading outlet/overflow.
Apply suitable polymer/resin based waterproofer/repair system to asphalt roof sections.
Strip and renew outlet lining. Allow for upgrading detail.
Allow of installing overflow pipe.
Allow for upgrading overflow pipe.
Patch repair defective sections of asphalt roof, flashings and associated joint sealants. Include for relining/upgrading outlet and overflow.
Overhaul, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
Lead_lined_wallhead_gutter.
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail. Allow for upgrading outlet/overflow.
Strip and renew in zinc. Allow for upgrading outlet/overflow.
Strip and renew in high performance bituminous felt. Allow for upgrading outlet/overflow.
Strip and renew in single ply membrane. Allow for upgrading outlet/overflow.
Apply suitable polymer/resin based waterproofer/repair system to lead sections.
Strip and renew outlet lining. Allow for upgrading detail.
Allow of installing overflow pipe.
Allow for upgrading overflow pipe.
Patch repair defective sections of lead, flashings and associated joint sealants. Include for relining/upgrading outlet and overflow.
Overhaul, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
Zinc_lined_wallhead_gutter.
Strip and renew in zinc. Allow for upgrading outlet/overflow.
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail. Allow for upgrading outlet/overflow.
Strip and renew in high performance bituminous felt. Allow for upgrading outlet/overflow.
Strip and renew in single ply membrane. Allow for upgrading outlet/overflow.
Apply suitable polymer/resin based waterproofer/repair system to zinc sections.
Strip and renew outlet lining. Allow for upgrading detail.
Allow of installing overflow pipe.
Allow for upgrading overflow pipe.
Patch repair defective sections of zinc, flashings and associated joint sealants. Include for relining/upgrading outlet and overflow.
Overhaul, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
Copper_lined_wallhead_gutter.
Strip and renew in copper. Allow for upgrading outlet/overflow.
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail. Allow for upgrading outlet/overflow.
Strip and renew in high performance bituminous felt. Allow for upgrading outlet/overflow.
Strip and renew in single ply membrane. Allow for upgrading outlet/overflow.
Apply suitable polymer/resin based waterproofer/repair system to copper sections.
Strip and renew outlet lining. Allow for upgrading detail.
Allow of installing overflow pipe.
Allow for upgrading overflow pipe.
Patch repair defective sections of copper cladding, flashings and associated joint sealants. Include for relining/upgrading outlet and overflow.
Overhaul, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
Aluminium_lined_wallhead_gutter.
Strip and renew in aluminium cladding. Allow for upgrading outlet/overflow.
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail. Allow for upgrading outlet/overflow.
Strip and renew in high performance bituminous felt. Allow for upgrading outlet/overflow.
Strip and renew in single ply membrane. Allow for upgrading outlet/overflow.
Apply suitable polymer/resin based waterproofer/repair system to aluminium sections.
Strip and renew outlet lining. Allow for upgrading detail.
Allow of installing overflow pipe.
Allow for upgrading overflow pipe.
Patch repair defective sections of aluminium cladding, flashings and associated joint sealants. Include for relining/upgrading outlet and overflow.
Overhaul, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
Stainless_steel_lined_wallhead_gutter.
Strip and renew in stainless steel cladding. Allow for upgrading outlet/overflow.
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail. Allow for upgrading outlet/overflow.
Strip and renew in high performance bituminous felt. Allow for upgrading outlet/overflow.
Strip and renew in single ply membrane. Allow for upgrading outlet/overflow.
Apply suitable polymer/resin based waterproofer/repair system to stainless steel sections.
Strip and renew outlet lining. Allow for upgrading detail.
Allow of installing overflow pipe.
Allow for upgrading overflow pipe.
Patch repair defective sections of stainless steel cladding, flashings and associated joint sealants. Include for relining/upgrading outlet and overflow.
Overhaul, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
Bitument_felt_lined_wallhead_gutter.
Strip and renew in high performance bituminous felt. Allow for upgrading outlet/overflow.
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail. Allow for upgrading outlet/overflow.
Strip and renew in single ply membrane. Allow for upgrading outlet/overflow.
Apply suitable polymer/resin based waterproofer/repair system to bitumen felt sections.
Strip and renew outlet lining. Allow for upgrading detail.
Allow of installing overflow pipe.
Allow for upgrading overflow pipe.
Patch repair defective sections of bitumen felt, flashings and associated joint sealants. Include for relining/upgrading outlet and overflow.
Overhaul, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
Asphalt_coated_wallhead_gutter.
Strip and renew in high performance bituminous felt. Allow for upgrading outlet/overflow.
Apply suitable polymer/resin based waterproofer/repair system to asphalt roof sections.
Strip and renew outlet lining. Allow for upgrading detail.
Allow of installing overflow pipe.
Allow for upgrading overflow pipe.
Patch repair defective sections of asphalt roof, flashings and associated joint sealants. Include for relining/upgrading outlet and overflow.
Overhaul, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
Lead_back_gutter.
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail.
Strip and renew in zinc.
Strip and renew in high performance bituminous felt.
Apply suitable polymer/resin based waterproofer/repair system to lead sections.
Patch repair defective sections of lead, flashings and associated joint sealants.
Overhaul, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Zinc_back_gutter.
Strip and renew in zinc.
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail.
Strip and renew in high performance bituminous felt.
Apply suitable polymer/resin based waterproofer/repair system to zinc sections.
Patch repair defective sections of zinc, flashings and associated joint sealants.
Overhaul, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Copper_back_gutter.
Strip and renew in copper.
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail.
Strip and renew in zinc.
Strip and renew in high performance bituminous felt.
Apply suitable polymer/resin based waterproofer/repair system to copper sections.
Patch repair defective sections of copper, flashings and associated joint sealants.
Overhaul, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Aluminium_back_gutter.
Strip and renew in aluminium.
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail.
Strip and renew in zinc.
Strip and renew in high performance bituminous felt.
Apply suitable polymer/resin based waterproofer/repair system to aluminium sections.
Patch repair defective sections of aluminium, flashings and associated joint sealants.
Overhaul, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Stainless_steel_back_gutter.
Strip and renew in stainless steel.
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail.
Strip and renew in zinc.
Strip and renew in high performance bituminous felt.
Apply suitable polymer/resin based waterproofer/repair system to stainless steel sections.
Patch repair defective sections of stainless steel, flashings and associated joint sealants.
Overhaul, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Bitument_felt_lined_back_gutter.
Strip and renew in bitumen felt.
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail.
Strip and renew in zinc.
Strip and renew in high performance bituminous felt.
Apply suitable polymer/resin based waterproofer/repair system to bitumen felt sections.
Patch repair defective sections of bitumen felt, flashings and associated joint sealants.
Overhaul, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
uPVC_back_gutter.
Strip and renew in uPVC.
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail.
Strip and renew in zinc.
Strip and renew in high performance bituminous felt.
Apply suitable polymer/resin based waterproofer/repair system to uPVC sections.
Patch repair defective sections of uPVC, flashings and associated joint sealants.
Overhaul, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Lead_lined_gutter.
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail.
Strip and renew in zinc.
Strip and renew in high performance bituminous felt.
Strip and renew in single ply membrane.
Apply lead suitable polymer/resin based waterproofer/repair system to lead roof sections.
Patch repair defective sections of lead cladding, flashings and associated joint sealants.
Overhaul, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
Zinc_lined_gutter.
Strip and renew in zinc.
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail.
Strip and renew in high performance bituminous felt.
Strip and renew in single ply membrane.
Apply suitable polymer/resin based waterproofer/repair system to zinc sections.
Patch repair defective sections of zinc cladding, flashings and associated joint sealants.
Overhaul, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
Copper_lined_gutter.
Strip and renew in copper cladding.
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail.
Strip and renew in high performance bituminous felt.
Strip and renew in single ply membrane.
Apply suitable polymer/resin based waterproofer/repair system to copper sections.
Patch repair defective sections of copper cladding, flashings and associated joint sealants.
Overhaul, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
Aluminium_lined_gutter.
Strip and renew in aluminium.
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail.
Strip and renew in high performance bituminous felt.
Strip and renew in single ply membrane.
Apply suitable polymer/resin based waterproofer/repair system to aluminium sections.
Patch repair defective sections of aluminium cladding, flashings and associated joint sealants.
Overhaul, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
Stainless_steel_lined_gutter.
Strip and renew roof in stainless steel.
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail.
Strip and renew in high performance bituminous felt.
Strip and renew in single ply membrane.
Apply suitable polymer/resin based waterproofer/repair system to stainless steel sections.
Patch repair defective sections of stainless steel cladding, flashings and associated joint sealants.
Overhaul, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
Bitumen_felt_lined_gutter.
Strip and renew in high performance bituminous felt.
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail.
Strip and renew in single ply membrane.
Apply suitable polymer/resin based waterproofer/repair system to bituminous felt sections.
Patch repair defective sections of bituminous felt, flashings and associated joint sealants.
Overhaul, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
Asphalt_coated_gutter.
Strip and renew in high performance bituminous felt.
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail.
Apply suitable polymer/resin based waterproofer/repair system to asphalt sections.
Patch repair defective sections of asphalt, flashings and associated joint sealants.
Overhaul, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
Single_ply_gutter.
Strip and renew in single ply membrane system.
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail.
Strip and renew in zinc.
Patch repair defective sections of single ply membrane, flashings and associated joint sealants.
Overhaul, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
Profilled_cast_iron_gutters.
Take down and replace existing gutters in cast iron.
Take down and replace existing gutters in cast iron. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in cast iron. Allow for redesigning guttering arrangement and for adding lead flashing between the gutter sections and the stonework.
Take down and replace existing gutters in cast iron increasing sections size.
Take down and replace existing gutters in cast iron increasing sections size. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in cast iron increasing sections size. Allow for redesigning guttering arrangement and for adding lead flashing between the gutter sections and the stonework.
Take down and refit existing gutters, replacing defective fixings/brackets/sections.
Take down and refit existing gutters, replacing defective fixings/brackets/sections. Allow for redesigning guttering arrangement and include for redecoration.
Take down and refit existing gutters,replacing defective fixings/brackets/sections. Include for redecoration and for adding lead flashing between the gutter sections and the stonework.
Take down and refit existing gutters, replacing defective fixings/brackets/sections. Allow for redesigning guttering arrangement and include for redecoration and for adding lead flashing between the gutter sections and the stonework.
Overhaul, realigning dislodged sections, repairing defective joints and replacing defective fixings. Include for redecoration. Include for removing any moss, vegetation growth, debris built-up, for adding wire balloons to outlets and for redecoration.
Remove any moss, vegetation growth, debris built-up. Include for redecoration and for adding wire balloons to outlets.
Remove any moss, vegetation growth, debris built-up. Include for adding wire balloons to outlets.
Remove any moss, vegetation growth, debris built-up.
Half_round_cast_iron_gutters.
Take down and replace existing gutters in cast iron.
Take down and replace existing gutters in cast iron. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in cast iron increasing sections size.
Take down and replace existing gutters in cast iron increasing sections size. Allow for redesigning guttering arrangement.
Take down and refit existing gutters, replacing defective fixings/brackets/sections. Include for redecoration.
Take down and refit existing gutters, replacing defective fixings/brackets/sections. Allow for redesigning guttering arrangement and include for redecoration.
Overhaul, realigning dislodged sections, repairing defective joints and replacing defective fixings. Include for redecoration. Include for removing any moss, vegetation growth, debris built-up, for adding wire balloons to outlets and for redecoration.
Remove any moss, vegetation growth, debris built-up. Include for redecoration and for adding wire balloons to outlets.
Remove any moss, vegetation growth, debris built-up. Include for adding wire balloons to outlets.
Remove any moss, vegetation growth, debris built-up.
Box_cast_iron_gutters.
Take down and replace existing gutters in cast iron.
Take down and replace existing gutters in cast iron. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in cast iron. Allow for redesigning guttering arrangement and for adding lead flashing between the gutter sections and the stonework.
Take down and replace existing gutters in cast iron increasing sections size.
Take down and replace existing gutters in cast iron increasing sections size. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in cast iron increasing sections size. Allow for redesigning guttering arrangement and for adding lead flashing between the gutter sections and the stonework.
Take down and refit existing gutters, replacing defective fixings/brackets/sections.
Take down and refit existing gutters, replacing defective fixings/brackets/sections. Allow for redesigning guttering arrangement and include for redecoration.
Take down and refit existing gutters,replacing defective fixings/brackets/sections. Include for redecoration and for adding lead flashing between the gutter sections and the stonework.
Take down and refit existing gutters, replacing defective fixings/brackets/sections. Allow for redesigning guttering arrangement and include for redecoration and for adding lead flashing between the gutter sections and the stonework.
Overhaul, realigning dislodged sections, repairing defective joints and replacing defective fixings. Include for redecoration. Include for removing any moss, vegetation growth, debris built-up, for adding wire balloons to outlets and for redecoration.
Remove any moss, vegetation growth, debris built-up. Include for redecoration and for adding wire balloons to outlets.
Remove any moss, vegetation growth, debris built-up. Include for adding wire balloons to outlets.
Remove any moss, vegetation growth, debris built-up.
Profilled_lead_gutters.
Take down and replace existing gutters in lead.
Take down and replace existing gutters in lead. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in lead increasing sections size.
Take down and replace existing gutters in lead increasing sections size. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in cast iron.
Take down and replace existing gutters in cast iron.. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in cast iron. increasing sections size.
Take down and replace existing gutters in cast iron. increasing sections size. Allow for redesigning guttering arrangement.
Overhaul, realigning dislodged sections, repairing defective joints and replacing defective fixings. Include for removing any moss, vegetation growth, debris built-up, for adding wire balloons to outlets and for redecoration.
Remove any moss, vegetation growth, debris built-up. Include for adding wire balloons to outlets.
Remove any moss, vegetation growth, debris built-up.
Half_round_lead_gutters.
Take down and replace existing gutters in lead.
Take down and replace existing gutters in lead. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in lead increasing sections size.
Take down and replace existing gutters in lead increasing sections size. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in cast iron.
Take down and replace existing gutters in cast iron.. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in cast iron. increasing sections size.
Take down and replace existing gutters in cast iron. increasing sections size. Allow for redesigning guttering arrangement.
Overhaul, realigning dislodged sections, repairing defective joints and replacing defective fixings. Include for removing any moss, vegetation growth, debris built-up, for adding wire balloons to outlets and for redecoration.
Remove any moss, vegetation growth, debris built-up. Include for adding wire balloons to outlets.
Remove any moss, vegetation growth, debris built-up.
Box_lead_gutters.
Take down and replace existing gutters in lead.
Take down and replace existing gutters in lead. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in lead increasing sections size.
Take down and replace existing gutters in lead increasing sections size. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in cast iron.
Take down and replace existing gutters in cast iron.. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in cast iron. increasing sections size.
Take down and replace existing gutters in cast iron. increasing sections size. Allow for redesigning guttering arrangement.
Overhaul, realigning dislodged sections, repairing defective joints and replacing defective fixings. Include for removing any moss, vegetation growth, debris built-up, for adding wire balloons to outlets and for redecoration.
Remove any moss, vegetation growth, debris built-up. Include for adding wire balloons to outlets.
Remove any moss, vegetation growth, debris built-up.
Half_round_zinc_gutters.
Take down and replace existing gutters in zinc.
Take down and replace existing gutters in zinc. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in zinc increasing sections size.
Take down and replace existing gutters in zinc increasing sections size. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in cast iron.
Take down and replace existing gutters in cast iron. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in cast iron increasing sections size.
Take down and replace existing gutters in cast iron increasing sections size. Allow for redesigning guttering arrangement.
Take down and refit existing gutters, replacing defective fixings/brackets/sections.
Take down and refit existing gutters, replacing defective fixings/brackets/sections. Allow for redesigning guttering arrangement and include for redecoration.
Overhaul, realigning dislodged sections, repairing defective joints and replacing defective fixings. Include for removing any moss, vegetation growth, debris built-up, for adding wire balloons to outlets and for redecoration.
Remove any moss, vegetation growth, debris built-up. Include for adding wire balloons to outlets.
Remove any moss, vegetation growth, debris built-up.
Box_zinc_gutters.
Take down and replace existing gutters in zinc.
Take down and replace existing gutters in zinc. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in zinc increasing sections size.
Take down and replace existing gutters in zinc increasing sections size. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in cast iron.
Take down and replace existing gutters in cast iron. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in cast iron increasing sections size.
Take down and replace existing gutters in cast iron increasing sections size. Allow for redesigning guttering arrangement.
Take down and refit existing gutters, replacing defective fixings/brackets/sections.
Take down and refit existing gutters, replacing defective fixings/brackets/sections. Allow for redesigning guttering arrangement and include for redecoration.
Overhaul, realigning dislodged sections, repairing defective joints and replacing defective fixings. Include for removing any moss, vegetation growth, debris built-up, for adding wire balloons to outlets and for redecoration.
Remove any moss, vegetation growth, debris built-up. Include for adding wire balloons to outlets.
Remove any moss, vegetation growth, debris built-up.
Profilled_copper_gutters.
Take down and replace existing gutters in copper.
Take down and replace existing gutters in copper. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in copper increasing sections size.
Take down and replace existing gutters in copper increasing sections size. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in cast iron.
Take down and replace existing gutters in cast iron. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in cast iron increasing sections size.
Take down and replace existing gutters in cast iron increasing sections size. Allow for redesigning guttering arrangement.
Take down and refit existing gutters, replacing defective fixings/brackets/sections.
Take down and refit existing gutters, replacing defective fixings/brackets/sections. Allow for redesigning guttering arrangement and include for redecoration.
Overhaul, realigning dislodged sections, repairing defective joints and replacing defective fixings. Include for removing any moss, vegetation growth, debris built-up, for adding wire balloons to outlets and for redecoration.
Remove any moss, vegetation growth, debris built-up. Include for adding wire balloons to outlets.
Remove any moss, vegetation growth, debris built-up.
Half_round_copper_gutters.
Take down and replace existing gutters in copper.
Take down and replace existing gutters in copper. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in copper increasing sections size.
Take down and replace existing gutters in copper increasing sections size. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in cast iron.
Take down and replace existing gutters in cast iron. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in cast iron increasing sections size.
Take down and replace existing gutters in cast iron increasing sections size. Allow for redesigning guttering arrangement.
Take down and refit existing gutters, replacing defective fixings/brackets/sections.
Take down and refit existing gutters, replacing defective fixings/brackets/sections. Allow for redesigning guttering arrangement and include for redecoration.
Overhaul, realigning dislodged sections, repairing defective joints and replacing defective fixings. Include for removing any moss, vegetation growth, debris built-up, for adding wire balloons to outlets and for redecoration.
Remove any moss, vegetation growth, debris built-up. Include for adding wire balloons to outlets.
Remove any moss, vegetation growth, debris built-up.
Box_copper_gutters.
Take down and replace existing gutters in copper.
Take down and replace existing gutters in copper. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in copper increasing sections size.
Take down and replace existing gutters in copper increasing sections size. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in cast iron.
Take down and replace existing gutters in cast iron. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in cast iron increasing sections size.
Take down and replace existing gutters in cast iron increasing sections size. Allow for redesigning guttering arrangement.
Take down and refit existing gutters, replacing defective fixings/brackets/sections.
Take down and refit existing gutters, replacing defective fixings/brackets/sections. Allow for redesigning guttering arrangement and include for redecoration.
Overhaul, realigning dislodged sections, repairing defective joints and replacing defective fixings. Include for removing any moss, vegetation growth, debris built-up, for adding wire balloons to outlets and for redecoration.
Remove any moss, vegetation growth, debris built-up. Include for adding wire balloons to outlets.
Remove any moss, vegetation growth, debris built-up.
Profilled_uPVC_gutters.
Take down and replace existing gutters in uPVC.
Take down and replace existing gutters in uPVC. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in uPVC increasing sections size.
Take down and replace existing gutters in uPVC increasing sections size. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in cast iron.
Take down and replace existing gutters in cast iron. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in cast iron increasing sections size.
Take down and replace existing gutters in cast iron increasing sections size. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in aluminium.
Take down and replace existing gutters in aluminium. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in aluminium increasing sections size.
Take down and replace existing gutters in aluminium increasing sections size. Allow for redesigning guttering arrangement.
Take down and refit existing gutters, replacing defective fixings/brackets/sections.
Take down and refit existing gutters, replacing defective fixings/brackets/sections. Allow for redesigning guttering arrangement and include for redecoration.
Overhaul, realigning dislodged sections, repairing defective joints and replacing defective fixings. Include for removing any moss, vegetation growth, debris built-up, for adding wire balloons to outlets and for redecoration.
Remove any moss, vegetation growth, debris built-up. Include for adding wire balloons to outlets.
Remove any moss, vegetation growth, debris built-up.
Half_round_uPVC_gutters.
Take down and replace existing gutters in uPVC.
Take down and replace existing gutters in uPVC. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in uPVC increasing sections size.
Take down and replace existing gutters in uPVC increasing sections size. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in cast iron.
Take down and replace existing gutters in cast iron. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in cast iron increasing sections size.
Take down and replace existing gutters in cast iron increasing sections size. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in aluminium.
Take down and replace existing gutters in aluminium. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in aluminium increasing sections size.
Take down and replace existing gutters in aluminium increasing sections size. Allow for redesigning guttering arrangement.
Take down and refit existing gutters, replacing defective fixings/brackets/sections.
Take down and refit existing gutters, replacing defective fixings/brackets/sections. Allow for redesigning guttering arrangement and include for redecoration.
Overhaul, realigning dislodged sections, repairing defective joints and replacing defective fixings. Include for removing any moss, vegetation growth, debris built-up, for adding wire balloons to outlets and for redecoration.
Remove any moss, vegetation growth, debris built-up. Include for adding wire balloons to outlets.
Remove any moss, vegetation growth, debris built-up.
Box_uPVC_gutters.
Take down and replace existing gutters in uPVC.
Take down and replace existing gutters in uPVC. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in uPVC increasing sections size.
Take down and replace existing gutters in uPVC increasing sections size. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in cast iron.
Take down and replace existing gutters in cast iron. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in cast iron increasing sections size.
Take down and replace existing gutters in cast iron increasing sections size. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in aluminium.
Take down and replace existing gutters in aluminium. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in aluminium increasing sections size.
Take down and replace existing gutters in aluminium increasing sections size. Allow for redesigning guttering arrangement.
Take down and refit existing gutters, replacing defective fixings/brackets/sections.
Take down and refit existing gutters, replacing defective fixings/brackets/sections. Allow for redesigning guttering arrangement and include for redecoration.
Overhaul, realigning dislodged sections, repairing defective joints and replacing defective fixings. Include for removing any moss, vegetation growth, debris built-up, for adding wire balloons to outlets and for redecoration.
Remove any moss, vegetation growth, debris built-up. Include for adding wire balloons to outlets.
Remove any moss, vegetation growth, debris built-up.
Profilled_aluminium_gutters.
Take down and replace existing gutters in aluminium.
Take down and replace existing gutters in aluminium. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in aluminium increasing sections size.
Take down and replace existing gutters in aluminium increasing sections size. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in cast iron.
Take down and replace existing gutters in cast iron. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in cast iron increasing sections size.
Take down and replace existing gutters in cast iron increasing sections size. Allow for redesigning guttering arrangement.
Take down and refit existing gutters, replacing defective fixings/brackets/sections.
Take down and refit existing gutters, replacing defective fixings/brackets/sections. Allow for redesigning guttering arrangement and include for redecoration.
Overhaul, realigning dislodged sections, repairing defective joints and replacing defective fixings. Include for removing any moss, vegetation growth, debris built-up, for adding wire balloons to outlets and for redecoration.
Remove any moss, vegetation growth, debris built-up. Include for adding wire balloons to outlets.
Remove any moss, vegetation growth, debris built-up.
Half_round_aluminium_gutters.
Take down and replace existing gutters in aluminium.
Take down and replace existing gutters in aluminium. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in aluminium increasing sections size.
Take down and replace existing gutters in aluminium increasing sections size. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in cast iron.
Take down and replace existing gutters in cast iron. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in cast iron increasing sections size.
Take down and replace existing gutters in cast iron increasing sections size. Allow for redesigning guttering arrangement.
Take down and refit existing gutters, replacing defective fixings/brackets/sections.
Take down and refit existing gutters, replacing defective fixings/brackets/sections. Allow for redesigning guttering arrangement and include for redecoration.
Overhaul, realigning dislodged sections, repairing defective joints and replacing defective fixings. Include for removing any moss, vegetation growth, debris built-up, for adding wire balloons to outlets and for redecoration.
Remove any moss, vegetation growth, debris built-up. Include for adding wire balloons to outlets.
Remove any moss, vegetation growth, debris built-up.
Box_aluminium_gutters.
Take down and replace existing gutters in aluminium.
Take down and replace existing gutters in aluminium. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in aluminium increasing sections size.
Take down and replace existing gutters in aluminium increasing sections size. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in cast iron.
Take down and replace existing gutters in cast iron. Allow for redesigning guttering arrangement.
Take down and replace existing gutters in cast iron increasing sections size.
Take down and replace existing gutters in cast iron increasing sections size. Allow for redesigning guttering arrangement.
Take down and refit existing gutters, replacing defective fixings/brackets/sections.
Take down and refit existing gutters, replacing defective fixings/brackets/sections. Allow for redesigning guttering arrangement and include for redecoration.
Overhaul, realigning dislodged sections, repairing defective joints and replacing defective fixings. Include for removing any moss, vegetation growth, debris built-up, for adding wire balloons to outlets and for redecoration.
Remove any moss, vegetation growth, debris built-up. Include for adding wire balloons to outlets.
Remove any moss, vegetation growth, debris built-up.
|  |  |  | Flashings | Ridge_Flashings
|  |  |  | Ridge_Flashings | Lead_ridge_flashings. | Lead_ridge_flashings.
|  |  |  | Cover_Flashings | Zinc_ridge_flashings. | Strip and replace in lead, all as per Lead Sheet Association (LSA) recommended detail.
|  |  |  | Apron_Flashing | Copper_ridge_flashings. | Replace defective sections and fixings.
|  |  |  | Upstand_Flashings | Aluminium_ridge_flashings. | Apply suitable polymer/resin based waterproofer/repair system.
|  |  |  | Slate_Vents | Stainless_steel_ridge_flashings. | Strip and replace in zinc.
|  |  |  | Other_Flashings | uPVC_ridge_flashings. | Overhaul, re-fixing dislodged/uplifted sections and replacing defective fixings.
Terracotta_ridge_tiles.
Stone_ridge_tiles.
[5 empty] | Concrete_ridge_tiles. | Zinc_ridge_flashings.
Strip and replace in zinc.
Replace defective sections and fixings.
[5 empty] | Cover_Flashings | Strip and replace in lead, all as per Lead Sheet Association (LSA) recommended detail.
[5 empty] | Lead_cover_flashings. | Apply suitable polymer/resin based waterproofer/repair system.
[5 empty] | Zinc_cover_flashings. | Overhaul, realigning/re-fixing dislodges sections and replacing defective fixings.
Copper_cover_flashings.
Aluminium_cover_flashings.
[5 empty] | Stainless_steel_cover_flashings. | Copper_ridge_flashings.
[5 empty] | uPVC_cover_flashings. | Strip and replace in copper.
[5 empty] | Bitument_felt_cover_flashings. | Replace defective sections and fixings.
Strip and replace in lead, all as per Lead Sheet Association (LSA) recommended detail.
Strip and replace in zinc.
[5 empty] | Apron_Flashing | Apply suitable polymer/resin based waterproofer/repair system.
[5 empty] | Lead_apron_flashings. | Overhaul, realigning/re-fixing dislodges sections and replacing defective fixings.
Zinc_apron_flashings.
Copper_apron_flashings.
[5 empty] | Aluminium_apron_flashings. | Aluminium_ridge_flashings.
[5 empty] | Stainless_steel_apron_flashings. | Strip and replace in aluminium.
[5 empty] | uPVC_apron_flashings. | Replace defective sections and fixings.
[5 empty] | Bitument_felt_apron_flashings. | Strip and replace in lead, all as per Lead Sheet Association (LSA) recommended detail.
Strip and replace in zinc.
Apply suitable polymer/resin based waterproofer/repair system.
[5 empty] | Upstand_Flashings | Overhaul, realigning/re-fixing dislodges sections and replacing defective fixings.
Lead_upstand_flashings.
Zinc_upstand_flashings.
[5 empty] | Copper_upstand_flashings. | Stainless_steel_ridge_flashings.
[5 empty] | Aluminium_upstand_flashings. | Strip and replace in stainless steel.
[5 empty] | Stainless_steel_upstand_flashings. | Replace defective sections and fixings.
[5 empty] | uPVC_upstand_flashings. | Strip and replace in lead, all as per Lead Sheet Association (LSA) recommended detail.
[5 empty] | Bitument_felt_upstand_flashings. | Strip and replace in zinc.
Apply suitable polymer/resin based waterproofer/repair system.
Overhaul, realigning/re-fixing dislodges sections and replacing defective fixings.
Slate_Vents
Lead_slate_vents.
[5 empty] | Aluminium_slate_vents. | uPVC_ridge_flashings.
[5 empty] | Stainless_steel_slate_vents. | Strip and replace in stainless steel.
[5 empty] | uPVC_slate_vents. | Replace defective sections and fixings.
Strip and replace in lead, all as per Lead Sheet Association (LSA) recommended detail.
Strip and replace in zinc.
[5 empty] | Other_Flashings | Apply suitable polymer/resin based waterproofer/repair system.
Overhaul, realigning/re-fixing dislodges sections and replacing defective fixings.
Terracotta_ridge_tiles.
Strip and retile reusing as much as possible the existing roof tiles.
Strip and retile the roof in new terracotta roof tiles.
Strip and replacing broken tiles.
Overhaul roof tiles re-bedding loose tiles, repairing broken tiles and removing any moss, vegetation growth, debris built-up.
Stone_ridge_tiles.
Strip and retile reusing as much as possible the existing roof tiles.
Strip and retile the roof in new stone roof tiles.
Strip and replacing broken tiles.
Overhaul roof tiles re-bedding loose tiles, repairing broken tiles and removing any moss, vegetation growth, debris built-up.
Concrete_ridge_tiles.
Strip and retile reusing as much as possible the existing roof tiles.
Strip and retile the roof in concrete roof tiles.
Strip and replacing broken tiles.
Overhaul roof tiles re-bedding loose tiles, repairing broken tiles and removing any moss, vegetation growth, debris built-up.
Lead_cover_flashings.
Strip and renew in suitable lead code, all as per Lead Sheet Association (LSA) recommended detail.
Strip and renew in suitable lead code, all as per Lead Sheet Association (LSA) recommended detail. Allow for lead soakers underneath the slates.
Rake out and repoint defective sections of joint sealant.
Patch repair defective sections of flashings, associated fixings and joint sealant.
Overhaul, re- dressing uplifted/rippled sections and re-pointing defective sections of joint sealant.
Zinc_cover_flashings.
Strip and renew in zinc.
Rake out and repoint defective sections of joint sealant.
Patch repair defective sections of flashings, associated fixings and joint sealant.
Strip and renew in suitable lead code, all as per Lead Sheet Association (LSA) recommended detail.
Overhaul, re- fitting dislodged sections and re-pointing defective sections of joint sealant.
Copper_cover_flashings.
Strip and renew in copper.
Rake out and repoint defective sections of joint sealant.
Patch repair defective sections of flashings, associated fixings and joint sealant.
Strip and renew in suitable lead code, all as per Lead Sheet Association (LSA) recommended detail.
Overhaul, re- fitting dislodged sections and re-pointing defective sections of joint sealant.
Aluminium_cover_flashings.
Strip and renew in aluminium.
Rake out and repoint defective sections of joint sealant.
Patch repair defective sections of flashings, associated fixings and joint sealant.
Strip and renew in suitable lead code, all as per Lead Sheet Association (LSA) recommended detail.
Overhaul, re- fitting dislodged sections and re-pointing defective sections of joint sealant.
Stainless_steel_cover_flashings.
Strip and renew in stainless steel.
Rake out and repoint defective sections of joint sealant.
Patch repair defective sections of flashings, associated fixings and joint sealant.
Strip and renew in suitable lead code, all as per Lead Sheet Association (LSA) recommended detail.
Overhaul, re- fitting dislodged sections and re-pointing defective sections of joint sealant.
uPVC_cover_flashings.
Strip and renew in uPVC.
Rake out and repoint defective sections of joint sealant.
Patch repair defective sections of flashings, associated fixings and joint sealant.
Strip and renew in suitable lead code, all as per Lead Sheet Association (LSA) recommended detail.
Overhaul, re- fitting dislodged sections and re-pointing defective sections of joint sealant.
Bitument_felt_cover_flashings.
Strip and renew in bitumen felt.
Rake out and repoint defective sections of joint sealant.
Patch repair defective sections of flashings, associated fixings and joint sealant.
Strip and renew in suitable lead code, all as per Lead Sheet Association (LSA) recommended detail.
Overhaul, re- dressing uplifted/rippled sections and re-pointing defective sections of joint sealant.
Lead_apron_flashings.
Strip and renew in suitable lead code, all as per Lead Sheet Association (LSA) recommended detail.
Rake out and repoint defective sections of joint sealant.
Patch repair defective sections of flashings, associated fixings and joint sealant.
Overhaul, re- dressing uplifted/rippled sections and re-pointing defective sections of joint sealant.
Zinc_apron_flashings.
Strip and renew in zinc.
Rake out and repoint defective sections of joint sealant.
Patch repair defective sections of flashings, associated fixings and joint sealant.
Strip and renew in suitable lead code, all as per Lead Sheet Association (LSA) recommended detail.
Overhaul, re- fitting dislodged sections and re-pointing defective sections of joint sealant.
Copper_apron_flashings.
Strip and renew in copper.
Rake out and repoint defective sections of joint sealant.
Patch repair defective sections of flashings, associated fixings and joint sealant.
Strip and renew in suitable lead code, all as per Lead Sheet Association (LSA) recommended detail.
Overhaul, re- fitting dislodged sections and re-pointing defective sections of joint sealant.
Aluminium_apron_flashings.
Strip and renew in aluminium.
Rake out and repoint defective sections of joint sealant.
Patch repair defective sections of flashings, associated fixings and joint sealant.
Strip and renew in suitable lead code, all as per Lead Sheet Association (LSA) recommended detail.
Overhaul, re- fitting dislodged sections and re-pointing defective sections of joint sealant.
Stainless_steel_apron_flashings.
Strip and renew in stainless steel.
Rake out and repoint defective sections of joint sealant.
Patch repair defective sections of flashings, associated fixings and joint sealant.
Strip and renew in suitable lead code, all as per Lead Sheet Association (LSA) recommended detail.
Overhaul, re- fitting dislodged sections and re-pointing defective sections of joint sealant.
uPVC_apron_flashings.
Strip and renew in uPVC.
Rake out and repoint defective sections of joint sealant.
Patch repair defective sections of flashings, associated fixings and joint sealant.
Strip and renew in suitable lead code, all as per Lead Sheet Association (LSA) recommended detail.
Overhaul, re- fitting dislodged sections and re-pointing defective sections of joint sealant.
Bitument_felt_apron_flashings.
Strip and renew in bitumen felt.
Rake out and repoint defective sections of joint sealant.
Patch repair defective sections of flashings, associated fixings and joint sealant.
Strip and renew in suitable lead code, all as per Lead Sheet Association (LSA) recommended detail.
Overhaul, re- dressing uplifted/rippled sections and re-pointing defective sections of joint sealant.
Lead_upstand_flashings.
Strip and renew in suitable lead code, all as per Lead Sheet Association (LSA) recommended detail.
Rake out and repoint defective sections of joint sealant.
Replace defective sections of flashings, associated fixings and joint sealant.
Overhaul, re- dressing uplifted/rippled sections and re-pointing defective sections of joint sealant.
Zinc_upstand_flashings.
Strip and renew in zinc.
Strip and renew in zinc increasing the upstand height.
Rake out and repoint defective sections of joint sealant.
Replace defective sections of flashings, associated fixings and joint sealant.
Strip and renew in suitable lead code, all as per Lead Sheet Association (LSA) recommended detail.
Overhaul, re- fitting dislodged sections and re-pointing defective sections of joint sealant.
Copper_upstand_flashings.
Strip and renew in copper.
Strip and renew in copper increasing the upstand height.
Rake out and repoint defective sections of joint sealant.
Replace defective sections of flashings, associated fixings and joint sealant.
Strip and renew in suitable lead code, all as per Lead Sheet Association (LSA) recommended detail.
Overhaul, re- fitting dislodged sections and re-pointing defective sections of joint sealant.
Aluminium_upstand_flashings.
Strip and renew in aluminium.
Strip and renew in aluminium increasing the upstand height.
Rake out and repoint defective sections of joint sealant.
Replace defective sections of flashings, associated fixings and joint sealant.
Strip and renew in suitable lead code, all as per Lead Sheet Association (LSA) recommended detail.
Overhaul, re- fitting dislodged sections and re-pointing defective sections of joint sealant.
Stainless_steel_upstand_flashings.
Strip and renew in stainless steel.
Strip and renew in stainless steel increasing the upstand height.
Rake out and repoint defective sections of joint sealant.
Replace defective sections of flashings, associated fixings and joint sealant.
Strip and renew in suitable lead code, all as per Lead Sheet Association (LSA) recommended detail.
Overhaul, re- fitting dislodged sections and re-pointing defective sections of joint sealant.
uPVC_upstand_flashings.
Strip and renew in uPVC.
Strip and renew in uPVC increasing the upstand height.
Rake out and repoint defective sections of joint sealant.
Replace defective sections of flashings, associated fixings and joint sealant.
Strip and renew in suitable lead code, all as per Lead Sheet Association (LSA) recommended detail.
Overhaul, re- fitting dislodged sections and re-pointing defective sections of joint sealant.
Bitument_felt_upstand_flashings.
Strip and renew in bitumen felt.
Strip and renew in bitumen felt increasing the upstand height.
Rake out and repoint defective sections of joint sealant.
Patch repair defective sections of flashings, associated fixings and joint sealant.
Strip and renew in suitable lead code, all as per Lead Sheet Association (LSA) recommended detail.
Overhaul, re- dressing uplifted/rippled sections and re-pointing defective sections of joint sealant.
Lead_slate_vents.
Strip and renew in lead.
Strip and renew in uPVC.
Overhaul, removing any moss, vegetation growth, debris built-up.
Aluminium_slate_vents.
Strip and renew in aluminium
Strip and renew in lead.
Strip and renew in uPVC.
Overhaul, removing any moss, vegetation growth, debris built-up.
Stainless_steel_slate_vents.
Strip and renew in stainless steel.
Strip and renew in lead.
Strip and renew in uPVC.
Overhaul, removing any moss, vegetation growth, debris built-up.
uPVC_slate_vents.
Strip and renew in uPVC.
Strip and renew in lead.
Overhaul, removing any moss, vegetation growth, debris built-up.
Other_flashings.
Strip and renew.
Rake out and repoint defective sections of joint sealant.
Replace defective sections of flashings, associated fixings and joint sealant.
Strip and renew in suitable lead code, all as per Lead Sheet Association (LSA) recommended detail.
Overhaul, re- fitting dislodged sections and re-pointing defective sections of joint sealant.
|  |  |  | Abutments | Mortar_Fillets
|  |  |  | Mortar_Fillets | Traditional_mortar_skews. | Traditional_mortar_skews.
|  |  |  | Watergates |  | Hack off defective sections and renew in lime based mortar.
|  |  |  | Cover_Flashings |  | Hack off and renew in lime based mortar.
|  |  |  | Fascia_boards | Watergates | Hack off and renew in lime based mortar. Allow for lead soakers underneath the slates.
[5 empty] | Lead_watergates. | Hack off and renew in lime based mortar. Allow for felt soakers underneath the slates.
[5 empty] | Zinc_watergates. | Hack off and replace with lead watergates, all as per Lead Sheet Association (LSA) recommended detail.
Copper_watergates.
Aluminium_watergates.
[5 empty] | Stainless_steel_watergates. | Lead_watergates.
[5 empty] | uPVC_watergates. | Strip and renew in suitable lead code, all as per Lead Sheet Association (LSA) recommended detail.
Strip and renew in suitable lead code, all as per Lead Sheet Association (LSA) recommended detail. Allow for increasing existing girth.
Rake out and repoint defective sections of joint sealant.
[5 empty] | Fascia_boards | Patch repair defective sections of flashings, associated fixings and joint sealant.
[5 empty] | Timber_fascia_board. | Patch repair defective sections of flashings, associated fixings and joint sealant, removing any moss, vegetation growth, debris built-up.
[5 empty] | Aluminium_fascia_board. | Overhaul, re- dressing uplifted/rippled sections, re-pointing defective sections of joint sealant and removing any moss, vegetation growth, debris built-up.
[5 empty] | uPVC_fascia_board. | Remove any moss, vegetation growth, debris built-up.
Zinc_watergates.
Strip and renew in zinc.
Strip and renew in zinc. Allow for increasing existing girth.
Strip and renew in suitable lead code, all as per Lead Sheet Association (LSA) recommended detail.
Strip and renew in suitable lead code, all as per Lead Sheet Association (LSA) recommended detail. Allow for increasing existing girth.
Rake out and repoint defective sections of joint sealant.
Patch repair defective sections of flashings, associated fixings and joint sealant.
Patch repair defective sections of flashings, associated fixings and joint sealant, removing any moss, vegetation growth, debris built-up.
Overhaul, re-fitting dislodged sections, re-pointing defective sections of joint sealant and removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
Copper_watergates.
Strip and renew in copper.
Strip and renew in copper. Allow for increasing existing girth.
Strip and renew in suitable lead code, all as per Lead Sheet Association (LSA) recommended detail.
Strip and renew in suitable lead code, all as per Lead Sheet Association (LSA) recommended detail. Allow for increasing existing girth.
Rake out and repoint defective sections of joint sealant.
Patch repair defective sections of flashings, associated fixings and joint sealant.
Patch repair defective sections of flashings, associated fixings and joint sealant, removing any moss, vegetation growth, debris built-up.
Overhaul, re-fitting dislodged sections, re-pointing defective sections of joint sealant and removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
Aluminium_watergates.
Strip and renew in aluminium.
Strip and renew in aluminium. Allow for increasing existing girth.
Strip and renew in suitable lead code, all as per Lead Sheet Association (LSA) recommended detail.
Strip and renew in suitable lead code, all as per Lead Sheet Association (LSA) recommended detail. Allow for increasing existing girth.
Rake out and repoint defective sections of joint sealant.
Patch repair defective sections of flashings, associated fixings and joint sealant.
Patch repair defective sections of flashings, associated fixings and joint sealant, removing any moss, vegetation growth, debris built-up.
Overhaul, re-fitting dislodged sections, re-pointing defective sections of joint sealant and removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
Stainless_steel_watergates.
Strip and renew in stainless steel.
Strip and renew in stainless steel. Allow for increasing existing girth.
Strip and renew in suitable lead code, all as per Lead Sheet Association (LSA) recommended detail.
Strip and renew in suitable lead code, all as per Lead Sheet Association (LSA) recommended detail. Allow for increasing existing girth.
Rake out and repoint defective sections of joint sealant.
Patch repair defective sections of flashings, associated fixings and joint sealant.
Patch repair defective sections of flashings, associated fixings and joint sealant, removing any moss, vegetation growth, debris built-up.
Overhaul, re-fitting dislodged sections, re-pointing defective sections of joint sealant and removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
uPVC_watergates.
Strip and renew in uPVC
Strip and renew in uPVC. Allow for increasing existing girth.
Strip and renew in suitable lead code, all as per Lead Sheet Association (LSA) recommended detail.
Strip and renew in suitable lead code, all as per Lead Sheet Association (LSA) recommended detail. Allow for increasing existing girth.
Rake out and repoint defective sections of joint sealant.
Patch repair defective sections of flashings, associated fixings and joint sealant.
Patch repair defective sections of flashings, associated fixings and joint sealant, removing any moss, vegetation growth, debris built-up.
Overhaul, re-fitting dislodged sections, re-pointing defective sections of joint sealant and removing any moss, vegetation growth, debris built-up.
Remove any moss, vegetation growth, debris built-up.
Timber_fascia_board.
Replace in timber to match the existing.
Cut off defective sections and replace in timber to match the existing.
Cut off defective sections and replace in timber to match the existing. Include for redecoration to entire board.
Cut off defective sections and replace in timber to match the existing. Include for redecoration to entire board and for upgrading detail.
Replace defective sections in timber to match the existing.
Replace defective sections in timber to match the existing. Include for redecoration to entire board.
Replace defective sections in timber to match the existing. Include for redecoration to entire board and for upgrading detail.
Overhaul, re-fitting dislodged sections, replacing defective/missing fixings and redecorate.
Redecorate.
Aluminium_fascia_board.
Replace in aluminium to match the existing.
Replace defective sections in aluminium to match the existing.
Replace defective sections in aluminium to match the existing. Include for redecoration to entire board and for upgrading detail.
Overhaul, re-fitting dislodged sections and replacing defective/missing fixings.
uPVC_fascia_board.
Replace in uPVC to match the existing.
Replace defective sections in uPVC to match the existing.
Replace defective sections in uPVC to match the existing. Include for redecoration to entire board and for upgrading detail.
Overhaul, re-fitting dislodged sections and replacing defective/missing fixings.
|  |  |  | Dormers | Gabled_dormer
|  |  |  | Gabled_dormer | Timber_front. | Timber_front.
|  |  |  | Shed_dormer | Stone_front. | Cut off and replace defective sections and redecorate
|  |  |  | Hipped_dormer | Slated_front. | Take out and replace.
|  |  |  | Segmental dormwr | Lead_front. | Repair defective sections and redecorate.
|  |  |  | Flat_dormer | Zinc_front. | Overhaul replace defective and/or missing fixing and redecorate.
|  |  |  | Box_dormer | Copper_front. | Redecorate.
Slated_haffits.
Lead_haffits.
[5 empty] | Zinc_haffits. | Stone_front.
[5 empty] | Copper_haffits. | Brush off areas of friable and loose stone back to a solid face.
[5 empty] | Felted_haffits. | Brush off areas of friable and loose stone back to a solid face and repoint defective sections of pointing and open joints in lime mortar.
[5 empty] | Timber_ haffits. | Repoint defective sections of pointing and open joints in lime mortar.
Cut off defective sections of stonework and indent in new stone to match.
Cut off defective sections of stonework and indent in new stone to match face and repoint defective sections of pointing and open joints in lime mortar.
[5 empty] | Shed_dormer | Replace defective sections of stonework.
[5 empty] | Timber_front. | Replace defective sections of stonework face and repoint defective sections of pointing and open joints in lime mortar.
[5 empty] | Stone_front. | Repair defective sections of stonework.
[5 empty] | Slated_front. | Repair defective sections of stonework face and repoint defective sections of pointing and open joints in lime mortar.
Lead_front.
Zinc_front.
[5 empty] | Copper_front. | Slated_front.
[5 empty] | Slated_haffits. | Strip and reslate reusing as much as possible the existing slate. Allow for the supply of good quality second hand reclaimed slate for making up any shortage and for the supply and fit of a new breathable underslating membrane.
[5 empty] | Lead_haffits. | Strip and reslate the roof in good quality second hand reclaimed slate. Giving the condition of the slatework no allowance for salvaging slate has been made. Allow for the supply and fit of a new breathable underslating membrane.
[5 empty] | Zinc_haffits. | Strip and reslate the roof in new heritage suitable slate. Slating pattern to match as much as possible the original pattern. Allow for the supply and fit of a new breathable underslating membrane.
[5 empty] | Copper_haffits. | Strip and reslate the roof in new slate. Allow for the supply and fit of a new breathable membrane.
[5 empty] | Felted_haffits. | Overhaul slatework replacing missing, slipped or broken slates and removing any moss, vegetation growth, debris built-up.
Timber_ haffits.
Lead_front.
[5 empty] | Hipped_dormer | Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail. Allow provisional sum for required associated joinery repairs.
[5 empty] | Timber_front. | Strip and renew roof in timber. Include for flashing at joints and abutments. Allow provisional sum for required associated joinery repairs.
[5 empty] | Stone_front. | Patch repair defective sections of lead cladding, flashings and associated joint sealants.
[5 empty] | Slated_front. | Overhaul roof, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Lead_front.
Zinc_front.
[5 empty] | Copper_front. | Zinc_front.
[5 empty] | Slated_haffits. | Strip and renew in zinc. Allow provisional sum for required associated joinery repairs.
[5 empty] | Lead_haffits. | Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail. Allow provisional sum for required associated joinery repairs.
[5 empty] | Zinc_haffits. | Patch repair defective sections of zinc cladding, flashings and associated joint sealants.
[5 empty] | Copper_haffits. | Overhaul roof, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Felted_haffits.
Timber_ haffits.
Copper_front.
Strip and renew in copper. Allow provisional sum for required associated joinery repairs.
[5 empty] | Segmental_dormer | Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail. Allow provisional sum for required associated joinery repairs.
[5 empty] | Timber_front. | Patch repair defective sections of zinc cladding, flashings and associated joint sealants.
[5 empty] | Stone_front. | Overhaul roof, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Slated_front.
Lead_front.
[5 empty] | Zinc_front. | Slated_haffits.
[5 empty] | Copper_front. | Strip and reslate reusing as much as possible the existing slate. Allow for the supply of good quality second hand reclaimed slate for making up any shortage and for the supply and fit of a new breathable underslating membrane.
[5 empty] | Slated_haffits. | Strip and reslate the roof in good quality second hand reclaimed slate. Giving the condition of the slatework no allowance for salvaging slate has been made. Allow for the supply and fit of a new breathable underslating membrane.
[5 empty] | Lead_haffits. | Strip and reslate the roof in new heritage suitable slate. Slating pattern to match as much as possible the original pattern. Allow for the supply and fit of a new breathable underslating membrane.
[5 empty] | Zinc_haffits. | Strip and reslate the roof in new slate. Allow for the supply and fit of a new breathable membrane.
[5 empty] | Copper_haffits. | Overhaul slatework replacing missing, slipped or broken slates and removing any moss, vegetation growth, debris built-up.
Felted_haffits.
Timber_ haffits.
Lead_haffits.
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail. Allow provisional sum for required associated joinery repairs.
[5 empty] | Flat_dormer | Strip and renew in new high performance bituminous felt. Allow provisional sum for required associated joinery repairs.
[5 empty] | Timber_front. | Strip and reslate the roof in good quality second hand reclaimed slate. Giving the condition of the slatework no allowance for salvaging slate has been made. Allow for the supply and fit of a new breathable underslating membrane.
[5 empty] | Stone_front. | Strip and reslate the roof in new heritage suitable slate. Slating pattern to match as much as possible the original pattern. Allow for the supply and fit of a new breathable underslating membrane.
[5 empty] | Slated_front. | Strip and reslate the roof in new slate. Allow for the supply and fit of a new breathable membrane.
[5 empty] | Lead_front. | Patch repair defective sections of lead cladding, flashings and associated joint sealants.
[5 empty] | Zinc_front. | Overhaul roof, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Copper_front.
Slated_haffits.
[5 empty] | Lead_haffits. | Zinc_haffits.
[5 empty] | Zinc_haffits. | Strip and renew in zinc. Allow provisional sum for required associated joinery repairs.
[5 empty] | Copper_haffits. | Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail. Allow provisional sum for required associated joinery repairs.
[5 empty] | Felted_haffits. | Strip and renew in new high performance bituminous felt. Allow provisional sum for required associated joinery repairs.
[5 empty] | Timber_ haffits. | Strip and reslate the roof in good quality second hand reclaimed slate. Giving the condition of the slatework no allowance for salvaging slate has been made. Allow for the supply and fit of a new breathable underslating membrane.
Strip and reslate the roof in new heritage suitable slate. Slating pattern to match as much as possible the original pattern. Allow for the supply and fit of a new breathable underslating membrane.
Strip and reslate the roof in new slate. Allow for the supply and fit of a new breathable membrane.
[5 empty] | Box_dormer | Patch repair defective sections of lead cladding, flashings and associated joint sealants.
[5 empty] | Timber_front. | Overhaul roof, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Stone_front.
Slated_front.
[5 empty] | Lead_front. | Copper_haffits.
[5 empty] | Zinc_front. | Strip and renew in copper. Allow provisional sum for required associated joinery repairs.
[5 empty] | Copper_front. | Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail. Allow provisional sum for required associated joinery repairs.
[5 empty] | Slated_haffits. | Strip and renew in new high performance bituminous felt. Allow provisional sum for required associated joinery repairs.
[5 empty] | Lead_haffits. | Strip and reslate the roof in good quality second hand reclaimed slate. Giving the condition of the slatework no allowance for salvaging slate has been made. Allow for the supply and fit of a new breathable underslating membrane.
[5 empty] | Zinc_haffits. | Strip and reslate the roof in new heritage suitable slate. Slating pattern to match as much as possible the original pattern. Allow for the supply and fit of a new breathable underslating membrane.
[5 empty] | Copper_haffits. | Strip and reslate the roof in new slate. Allow for the supply and fit of a new breathable membrane.
[5 empty] | Felted_haffits. | Patch repair defective sections of lead cladding, flashings and associated joint sealants.
[5 empty] | Timber_ haffits. | Overhaul roof, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Felted_haffits.
Strip and renew in new high performance bituminous felt. Allow provisional sum for required associated joinery repairs.
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail. Allow provisional sum for required associated joinery repairs.
Strip and renew in zinc. Allow provisional sum for required associated joinery repairs.
Strip and reslate the roof in good quality second hand reclaimed slate. Giving the condition of the slatework no allowance for salvaging slate has been made. Allow for the supply and fit of a new breathable underslating membrane.
Strip and reslate the roof in new heritage suitable slate. Slating pattern to match as much as possible the original pattern. Allow for the supply and fit of a new breathable underslating membrane.
Strip and reslate the roof in new slate. Allow for the supply and fit of a new breathable membrane.
Patch repair defective sections of lead cladding, flashings and associated joint sealants.
Overhaul roof, replacing any defective fixings and joint sealants and removing any moss, vegetation growth, debris built-up.
Timber_ haffits.
Cut off and replace defective sections and redecorate
Take out and replace.
Repair defective sections and redecorate.
Overhaul replace defective and/or missing fixing and redecorate.
Redecorate.
Strip and renew in zinc.
Strip and renew in suitable lead code, all in accordance with Lead Sheet Association (LSA) recommended detail.
Strip and renew in new high performance bituminous felt.
Strip and reslate the roof in good quality second hand reclaimed slate. Giving the condition of the slatework no allowance for salvaging slate has been made. Allow for the supply and fit of a new breathable underslating membrane.
[5 empty] | Roof_Lanterns | Strip and reslate the roof in new heritage suitable slate. Slating pattern to match as much as possible the original pattern. Allow for the supply and fit of a new breathable underslating membrane.
[5 empty] | Rectangular_timber_roof_ lantern_with_georgian_glass _and _lead_flashings | Strip and reslate the roof in new slate. Allow for the supply and fit of a new breathable membrane.
Rectangular_timber_roof_ lantern_with_georgian_glass _and_ flashband_tape_flashings.
|  |  |  | Rooflights | Oval_timber_roof_ lantern_with_georgian_glass _and_lead_flashings.
|  |  |  | Roof_Domes | Oval_timber_roof_ lantern_with_georgian_glass _and_flashband_tape_flashings.
Roof_Lanterns
|  |  |  | Access_Hatches | Access_Hatches
|  |  |  | Roof_Windows | Lead_covered_access_hatch.
|  |  |  | Roof_Vents | Zinc_covered_access_hatch.
Felt_covered_access_hatch.
Copper_covered_access_hatch.
Roof_Windows
Timber_framed_single_glazed_roof_window_with_lead_flashings.
Timber_framed_double_glazed_roof_window_with_lead_flashings.
Traditiona_metal_roof_window.
|  |  |  | Lofts | Timber_Trussed_Structure
|  |  |  | Timber_Trussed_Structure | Insulated_attic_space_warm_roof_type.
Insulated_attic_space_cold_roof_type.
Attic_space_with_insulation_betwen_rafters.
Attic_space_with_insulation_between_ceiling_joist.
Attic_space_with_no_insulation.
|  |  |  | Chimneys | Stonework_Chimney
|  |  |  | Brickwork_Chimney | Dressed_ashlar_with_decorative_stone_coping_and_fired_clay_chimney_cans.
|  |  |  | Stonework_Chimney | Coursed_rubble_with_decorative_stone_coping_and_fired_clay_chimney_cans.
Coursed_rubble_with_dressed_quoins,_decorative_stone_coping _and_fired_clay_chimney_cans.
Exposed_solid_masonry_with_decorative_stone_coping_and_fired_clay_chimney_cans.
Rendered_solid_masonry_with_decorative_stone_coping_and_fired_clay_chimney_cans.
Exposed_solid_masonry_with_concrete_coping_and_fired_clay_chimney_cans.
Rendered_solid_masonry_with_concrete_coping_and_fired_clay_chimney_cans.
Brickwork_Chimney
Exposed brickwork_with_concrete_coping_and_fired_clay_chimney_cans.
Rendered_brickwork_with_concrete_coping_and_fired_clay_chimney_cans.
|  |  |  | Other | Rendered_brickwork_over_original_stonework_with_concrete_coping_and_fired_clay_chimney_cans.

## Notes (hidden)
Roof Elements | Types | Elevation Elements | Types | Internal Elements | Types | Scaffolding | Types
Roof Coverings | Pitched Roof - Slated | Walls | Stonework - Polished ashlar | Walls | Plaster on Hard | Scaffold | Full boarded
Roof Timbers | Pitched Roof - Lead | Windows | Stonework - Chamfered ashlar | Ceiling | Plaster on Lath |  | Top lift boarded only
Roof Abutment | Pitched Roof - Zinc | Dormer window | Stonework - Fine ashlar | Windows |  |  | Tower scaffold
Ridges | Flat Roof - Lead | Door | Stonework - Rusticated ashlar | Stairs |  |  | Crash deck
Hips | Flat Roof - Zinc | Entrance canopy | Stonework - Random rubble (Coarsed) | Handrails & Balustrades
Sloping Valley | Flat Roof - Felt | Downpipe/SVP | Stonework - Random rubble (Uncoarsed) | Door
Central Valley | Flat Roof - Asphalt | Hopper | Stonework - Square rubble (Coarsed) | Services
Valley Outlet | Cement Skew | Penetrations | Stonework - Square rubble (Uncoarsed)
Roof Light | Zinc Ridge | Entrance platt | Balustrade
Gutter | Lead Ridge | Metal railing | Cornise
Cupola | Copper Ridge |  | Mouldings
Cupola Deck | Zinc Hip |  | Window margins
Dormer | Lead Hip |  | String course
Flashings | Copper Hip |  | Blockwork
Skews | Zinc Valley |  | Traditional Sash and Case Window
Chimney | Lead Valley |  | uPVC Double Glazed Window
Haunching | Cast Iron Gutter |  | Common Door
Chimney Cans | Wallhead Gutter |  | Flat Door
Chimney Cowls | uPVC Gutter |  | uPVC Downpipe
Aerials etc. | Saddle Cupola |  | Cast Iron Downpipe
| Lead Flashing |  | uPVC SVP
| Zinc Flashing |  | Cast Iron SVP
| Stonework Chimney |  | Voissour Steps
| Brick Work Chimney |  | Entrance Platt
| Cement Haunching |  | Iron Railings
Traditional - No Bead
Traditional - Single Bead
Traditional - Double Bead
Chinese Hat Chimney Cowl
Elephants Foot Chimney Cowl
TV Aerials/Satelite Dishes